## Slide 1
Physical PV data
Yulara 768 kW
off-grid, desert
NIST 271 kW
grid-connected, humid
Curtailed series removed
≈50% of its energy curtailed
Archived GFS forecasts
only runs published in time
Honest selection (AHSE)
LightGBM
XGBoost
PatchTST
N-HiTS
LSTM
GRU
+ GFS inputs for tree models
per lead-time block: 1 h, 1–6 h, 6–24 h
combine models only if the
bootstrap gain is > 0
otherwise: best single model
Decided on validation data only
+ out-of-fold conformal 90% intervals
Test results, 1–24 h ahead
GFS lowers MAE: −13% (Yulara), −26% (NIST)
AHSE test MAE (kW)
36.2
31.3
Yulara
27.6
20.4
NIST
without GFS
with GFS
90% intervals: coverage 0.90–0.92
AHSE never significantly worse than best model